# Attachment K. System Benefits

# INTRODUCTION

All Applicants must provide a completed Attachment K. System Benefits as part of their Application Submission. This attachment will remain confidential.

# Form Usage

Applicants must utilize this attachment as a form, providing information in the response space provided. Applicants may append any necessary information if needed. The final version of Attachment K must be submitted as a PDF file with the Application.

# Ancillary Services Benefits

## Market Participation Strategy and Assumptions

Describe the market participation strategy and assumptions regarding ancillary services, including:

- Expected participation in ancillary service markets;

- Capability to provide spinning reserves, non-spinning reserves, or other ancillary services; and

- Response times and ramp rates.

## Contractual Obligations or Dispatch Restrictions

Describe any contractual obligations or dispatch restrictions that may affect ancillary services participation.

## Configuration Details (Hybrid Projects Only)

For hybrid or co-located Projects, provide configuration details affecting ancillary services capability (e.g., black start services, grid-forming inverters).

# Avoided or Deferred Investments in Transmission Infrastructure

## Known or Anticipated Transmission Projects

Identify any known or anticipated transmission projects that may be deferred or avoided due to the energy storage Project, including:

- References to specific needs identified in PJM's Regional Transmission Expansion Plan (RTEP) process;

- Transmission Owner studies or planning documents; and

- PJM subregional RTEP discussions.

## Local Reliability Violations

Identify any local reliability violations flagged by PJM or the Transmission Owner that the Project could mitigate.

## Supporting Materials

Provide supporting materials demonstrating the linkage between the proposed Project and avoided or deferred transmission investments, such as:

- PJM studies or analysis;

- Documentation of discussions or negotiations with Transmission Owners;

- Engineering analysis showing how the Project addresses identified needs; and

- Quantification of potential transmission cost savings.

## Transmission Deferral Value

Describe project-specific circumstances, technology characteristics, duration, configuration (e.g., co-location), and location that contribute to transmission deferral value.

# renewable enerGy value

## Direct Impact on Net Renewable Energy (Hybrid Projects)

Describe any anticipated direct impact on net renewable energy injected into the grid through avoided curtailment and additional renewable energy output delivered to the Maryland system.

## Incremental Renewable Energy (Hybrid Projects)

Quantify incremental renewable energy enabled by the storage Project, including:

- MWh per year of avoided renewable curtailment and

- MWh per year of additional renewable energy output.

## Supporting Documentation (Hybrid Projects)

Provide supporting documentation demonstrating the renewable energy value. Examples of such documentation may include:

- Curtailment and production analysis or modeling;

- Operational data from similar configurations; and

- PJM interconnection studies showing curtailment risk or system congestion preventing the interconnection of new renewable energy resources.

## Associated Curtailment Risks

Review associated curtailment risks for renewable energy Projects located near and impacted by the Project.

## Ability to Support New Renewable Energy Projects

Describe the ability of the standalone energy storage Project to support new renewable energy projects located near the Project.

## Contribution to Maryland’s Clean Energy and Climate Goals

Describe how a selected Project would contribute to Maryland’s clean energy and climate goals, such as the renewable energy portfolio standard established in PUA § 7–703 and achieving net–zero statewide greenhouse gas emissions by 2045 in accordance with PUA § 2–1204.2.