## Project Parameters
PROJECT INPUTS |  |  |  |  | STORAGE DEGRADATION INPUTS
|  | Parameters | Units | Standalone Storage |  |  | Parameters |  | Standalone Storage
Basic Inputs
|  | State | select | Maryland |  | Degradation Curve (If Any) |  | In %
|  | Project Type | select | New development
|  | ISO/RTO | select | PJM |  |  | Year 1 | %
[7 empty] | Year 2 | %
| Project Location | [5 empty] | Year 3 | %
|  | Project location (Please be descriptive - coordinates+county) |  |  |  |  | Year 4 | %
|  | Node name (If available) |  |  |  |  | Year 5 | %
|  | Node ID (If available) |  |  |  |  | Year 6 | %
|  | PJM capacity zone |  |  |  |  | Year 7 | %
[7 empty] | Year 8 | %
| Period | [5 empty] | Year 9 | %
|  | COD | mm/dd/yy |  |  |  | Year 10 | %
|  | Contract term | Years |  |  |  | Year 11 | %
[7 empty] | Year 12 | %
| Storage | [5 empty] | Year 13 | %
|  | Total power rating of facility | MW |  |  |  | Year 14 | %
|  | Duration | Hrs |  |  |  | Year 15 | %
|  | Energy rating (at COD) | MWh | 0 |  |  | Year 16 | %
|  | Coupling | select | AC |  |  | Year 17 | %
|  | Available storage capacity for contract | MW |  |  |  | Year 18 | %
|  | Available energy rating for contract | MWh | 0 |  |  | Year 19 | %
|  | SOC Low (must be greater than 0%) | % |  |  |  | Year 20 | %
|  | SOC High (must be lower than 100%) | % |  |  |  | Year 21 | %
|  | Charge rate | MW/hr |  |  |  | Year 22 | %
|  | Discharge rate | MW/hr |  |  |  | Year 23 | %
|  | Round-trip efficiency | % |  |  |  | Year 24 | %
|  | Minimum run-time per charge | Mins |  |  |  | Year 25 | %
|  | Minimum run-time per discharge | Mins
|  | Minimum downtime between charge/discharge | Mins
|  | Stand by Loss | %
|  | Storage life (Warranty) | Years
|  | Augmentation capacity (If Any) | % |  | Any Other Project Specific Considerations
|  | Augmentation year | Years after COD |  |  |  | Applicants may flag references to full application, which must include all relevant details that impact operations.
|  | Daily limit on full equivalent DoD cycles (if any) | #
|  | Monthly limit on full equivalent DoD cycles (if any) | # |  |  |  | 1-
|  | Annual limit on full equivalent DoD cycles (if any) | # |  |  |  | 2-
3-
4-
5-
6-
7-
8-
9-
10-
11-
12-
13-
14-
15-
16-
Yes
No

## ESCC
ESSC ($/MW-mo)
|  |  | Option 1: 15-year, no escalation | Option 2: 15-year, fixed escalation | Option 3: 20-year
ESCC Delivery Year | Contracted Storage Capacity (MW) | Contracted Storage Energy (MWh) |  | 2%
1 |  |  | 0 | 0 | 0
2 |  |  | 0 | 0 | 0
3 |  |  | 0 | 0 | 0
4 |  |  | 0 | 0 | 0
5 |  |  | 0 | 0 | 0
6 |  |  | 0 | 0 | 0
7 |  |  | 0 | 0 | 0
8 |  |  | 0 | 0 | 0
9 |  |  | 0 | 0 | 0
10 |  |  | 0 | 0 | 0
11 |  |  | 0 | 0 | 0
12 |  |  | 0 | 0 | 0
13 |  |  | 0 | 0 | 0
14 |  |  | 0 | 0 | 0
15 |  |  | 0 | 0 | 0
16 |  |  | N/A | N/A | 0
17 |  |  | N/A | N/A | 0
18 |  |  | N/A | N/A | 0
19 |  |  | N/A | N/A | 0
20 |  |  | N/A | N/A | 0
If Contracted Storage Capacity varies by month, enter expected values below:
Month | Contracted Storage Capacity (MW) | Contracted Storage Energy (MWh)
January
February
March
April
May
June
July
August
September
October
November
December
Additional pricing details